## Sheet1
MANUFACTURER | MODEL | DESCRIPTION | ECCN | QTY
FOXBORO | DP 020-115 | DIFFERENTIAL PRESSURE TRANSMITTER | 2B999 | 1
HACH | 1720c | TURBIDIMETER LOW RANGE | 3A992 | 2
MASTERFLEX | 77601-00 | HEAD, I/P EASY-LOAD PSF HOUSING, CRS ROTOR | EAR99 | 1
FOXBORO | E962-LAH-2-93578-70 | TRANSMITTER, MAGNETIC FLOW, | EAR99 | 5
OMEGA ENGINEERING | FTB-794 | FLOWMETER, W/ CAL 2 CALCULATIONS | EAR99 | 1
DWYER INSTRUMENTS | 2005 | GAUGE, DIFFERENTIAL PRESSUR, DIE CAST | EAR99 | 1